MEDICAL EQUIPMENT

IN

ROAD AMBULANCES – TYPE B

ACCORDING TO THE EUROPEAN STANDARD EN 1789:1999

WITH INCORPORATION OF AMENDMENT A1:2003

AND

THE EUROPEAN STANDARD EN 1865:1999

This list of contents is a guideline. Ambulance personnel are responsible for all equipment except for communication- and technical medical equipment.

Where a specific product name is mentioned it is only to illustrate a type of equipment. Similar equipment of a different brand can be accepted.

Equipment according to the Ambulance Regulations of 1974 in Norway

| Holder for 2 bottles / bags of IV fluid | 1 |
| --- | --- |
| Wound treatment / first aid | 1 |
| Soft paper/Bedpan | 5 |
| Bedpan / Urine bottle | 1 |
| Hand disinfection solution | 1 |
| UMBICUT / Delivery set | 1 |
| Eye rinse equipment | 1 |
| Light rescue equipment / shovel | 1 |
| Warning triangle | 1 |
| Fire extinguisher, 2 kg | 1 |
| Throw line | 1 |
| Safety mask | 2 |
| Safety helmet | 2 |
| Safety vest (CE approved) | 2 |
| Tow line | 1 |
| Fixed communication radio with user panel in patient compartment | 1 |

Stretcher equipment

| Main stretcher with fixed or removable undercarriage on 4 wheels. Stretcher must be equipped with safety straps/belts | 1 |
| --- | --- |
| Stretcher mattress with handles (recommended type: Allfa Emergency Mattress, or similar) | 1 |
| Spare stretcher, alternatively combined stretcher/chair | 1 |
| Carrying straps | 2 |
| Scoop stretcher with 4 belts (recommended type: Ferno Scoop 65 or similar | 1 |
| Vacuum mattress, adult, with pump | 1 |
| Bed linen for stretcher | 1 |
| Set of spare bed linen | 1 |
| Wool blankets | 2 |
| Back board with strap system. (Head cushion 15x15x1 cm made from special foam rubber) | 1 |

Medical technical equipment

| Permanent/stationary oxygen system with min. 2 x 10 litre bottles, flowmeter with regulator for up to 15 l./min. | 1 |
| --- | --- |
| Oxygen 1 / 2.5 l with regulator | 1 |
| Quick couplings for the permanent system | 1 |
| Multi-function monitor Propaq 202 or similar | 1 |
| Permanent/stationary suction (oxygen- or battery-driven | 1 |
| Secretion container | 1 |
| CPAP with all equipment when this is introduced to the ambulance service | 1 |
| Defibrillator with 12 channel ECG transmission and necessary related equipment | 1 |
| Heating cabinet / case for IV, min. 3 litres (37 dgr C) | 1 |
| Memory card for defibrillator | 1 |
| Battery / recharging system for defibrillator | 1 |

Contents, childrens sack – Thomas bag, small (blue)

| Childrens sack – Thomas bag, small (blue) | 1 |
| --- | --- |
| Right external pocket |  |
| Oxygen mask, children | 1 |
| Vaporizer mask, children | 1 |
| Drugs for vaporizer | 1 |
| Ventoline 0.5 mg / ml 2.5 ml | 3 |
| Atrovent 0.125 mg / ml 2.5 ml | 3 |
| Left external pocket |  |
| Needle, vein, 0.6 x 19 mm, yellow VENFLON | 2 |
| Needle, vein, 0.8 x 25 mm, blue VENFLON | 2 |
| Needle, vein, 1.0 x 25 mm, pink VENFLON | 2 |
| Tourniquet with quick locker | 1 |
| Fixing tape, vein syringe (Vecafix) | 5 |
| Cotton swabs, sterile, pack of 5 | 1 |
| Injection wash | 10 |
| Bandaid, Transpore, 2.5 cm | 1 |
| Syringe, 1 ml | 2 |
| Syringe, 2 ml | 2 |
| Syringe, 10 ml | 2 |
| Needle, injection, 0.8 x 50 mm, green | 10 |
| NaCl, 9 mg/ml, 10 ml plastic ampoule/vial | 2 |
| Small exterior pocket |  |
| Blood pressure measurement equipment, manual, children’s cuff | 1 |
| Stethoscope, children | 1 |
| Large middle pocket |  |
| Bandage, elastic, 7.5 cm wide | 1 |
| Compress, sterile, 10 x 20 cm | 1 |
| Compress, sterile, 20 x 30 cm | 1 |
| Rescue blanket, aluminium | 1 |
| Sling | 1 |
| Bandaid, Transpore 2.5 cm | 1 |
| Electrodes, defibrillator, children | 1 |
| Garbage bag | 1 |
| Internal blue pocket |  |
| Resuscitator, Laerdal, children, with reservoir and valve | 1 |
| Mask, resuscitation, Laerdal size 2 | 1 |
| Mask, resuscitation, Laerdal size 3 | 1 |
| Airway guedel size 1 | 1 |
| Airway guedel size 0/1 | 1 |
| Internal orange pocket |  |
| Resuscitator, Laerdal, neonatal, with reservoir and valve | 1 |
| Mask, resuscitation, Laerdal size 0/1 | 1 |
| Mask, resuscitation, Laerdal size 00 | 1 |
| Airway guedel size 01 | 1 |
| Airway guedel size 00 | 1 |
| Internal yellow pocket |  |
| Ringer acetate (IV fluid) 500 ml infusion bag | 1 |
| Set for infusion | 1 |
| Internal black pocket |  |
| Handle, laryngoscope, with battery (1.5 V x 2) | 1 |
| Blade, laryngoscope, size 1 | 1 |
| Clamp, Magills, children | 1 |
| Endotrachealtube, without cuff, size 2.5 | 1 |
| Endotrachealtube, without cuff, size 3.0 | 1 |
| Endotrachealtube, without cuff, size 4.0 | 1 |
| Endotrachealtube, without cuff, size 5.0 | 1 |
| Mandreng for ET tube, childrens | 1 |
| Emergency tracheostomy set | 1 |
| Tape, bendel, 40 cm | 1 |
| Bandaid, textile, 2.5 cm width | 1 |
| Spare battery for laryngoscope ( 1.5 V) | 2 |
| Spare light bulb for laryngoscope | 1 |
| Main compartment / pocket |  |
| Clamp, artery, anatomical | 1 |
| Scissors, bandage / clothes | 1 |
| Gloves, sterile, size 8 | 2 |
| Manual suction, Res-q-vac | 1 |
| Catheter, suction ch. 10, straight | 2 |

Contents, blood-sugar measurement (diabetes)

| Glucometer | 1 |
| --- | --- |
| Test strip (remember calibration) | 5 |
| Lancets | 5 |
| Case for the equipment | 1 |

Contents, defibrillator

| Defibrillator | 1 |
| --- | --- |
| Bag for defibrillator – nylon webbing attached to defibrillator | 1 |
| Cable for 12 channel ECG | 1 |
| Mobile telephone for ECG transmission | 1 |
| Defibrillator electrodes, adult | 1 |
| Defibrillator electrodes, child | 1 |
| Electrodes for ECG | 15 |
| Disposable razor | 1 |
| Memory card for defibrillator | 1 |

Contents, accessories multi-function monitor

| 3 Leeds cable, ECG, for monitor | 1 |
| --- | --- |
| Finger probe with cable for pulsoximeter | 1 |
| Probe with cable for pulsoximeter, neonatal | 1 |
| Blood pressure cuff with tubing, adult | 1 |
| Blood pressure cuff with tubing, child | 1 |
| Temperature measurement probe with cable | 1 |

Contents, disaster unit

| Binder / hard writing surface | 1 |
| --- | --- |
| Injury tags | 15 |
| Log book OLH/AKP | 5 |
| Pencil / magic marker | 2 |
| Microphone / head set for communications radio | 1 |
| OLH vest | 1 |

Contents, obstetrics unit

| Delivery set, pre-packaged | 1 |
| --- | --- |
| Heating blanket (aluminium) | 1 |
| Obstetrics suction | 1 |
| Clamp, navel cord | 2 |
| Gloves, sterile, size 7 and 8 | 2 |
| Scissors, sterile | 1 |
| Clothes, towels, wash cloths |  |

Contents, Main Bag, Emergency unit

| Main Bag, Emergency unit | 1 |
| --- | --- |
| Upper front pocket |  |
| Ringer acetate, IV fluid, 1000 ml | 1 |
| Infusion set | 1 |
| Lower front pocket |  |
| Manual suction Res-q-vac | 1 |
| Suction catheter, ch. 16, straight | 1 |
| Sonde, ventricular, ch. 24, straight | 1 |
| Spare bulb, for laryngoscope | 1 |
| Spare battery for laryngoscope, 1.5 V | 1 |
| Right external pocket |  |
| Needle, vein, 1.0 x 32 mm, pink VENFLON | 2 |
| Needle, vein, 1.4 x 45 mm, white VENFLON | 2 |
| Needle, vein, 2.0 x 45 mm, brown VENFLON | 2 |
| Fixing tape, vein syringe (Vecafix) | 5 |
| Cotton swabs, sterile, pack of 5 | 1 |
| Injection wash | 5 |
| Disposable box for used syringes | 1 |
| Tourniquets with quick locker | 1 |
| Bandaid, Scanpore, 2.5 cm |  |
| Left external pocket |  |
| Syringe, 1 ml | 2 |
| Syringe, 2 ml | 5 |
| Syringe, 10 ml | 3 |
| Needle, injection, 0.8 x 50 mm, green | 10 |
| NaCl, 9 mg/ml, 10 ml plastic ampoule/vial | 3 |
| Middle external pocket |  |
| Blood pressure measurement equipment, manual, adult cuff | 1 |
| Stethoscope, adult | 1 |
| Large middle pocket |  |
| Headlight | 1 |
| Garbage bag | 1 |
| Elastic bandage, 7.5 cm wide | 1 |
| Sterile compress, 10 x 20 cm | 1 |
| Sterile compress, 20 x 30 cm | 1 |
| Rescue blanket | 1 |
| Sling | 1 |
| Bandaid, Scanpore, 2.5 cm wide | 1 |
| Loose in main compartment |  |
| Clamp, arterial, anatomical | 1 |
| Scissors for bandage / clothes | 1 |
| Gloves, sterile, size 8 | 2 |
| Internal blue pocket |  |
| Adrenalin (packed in drugs bag) |  |
| Atropine (packed in drugs bag) |  |
| Syringe, injection, 0.8 x 50 mm, green | 2 |
| Syringe, 10 ml | 2 |
| Pocket resuscitation mask with one-way valve, Laerdal | 1 |
| Interior orange pocket |  |
| Glucometer | 1 |
| Glucose 500 mg/ml, 50 ml HETTEGLASS | 1 |
| Syringe, 20 ml | 1 |
| Needle, OPPTREKK MED PROPP | 1 |
| Stesolid (packed in drugs bag) |  |
| Interior yellow pocket |  |
| Space for drugs |  |
| Packed in separate drugs bag |  |
| Interior black pocket |  |
| Handle, laryngoscope, with battery (1.5 V x 2) | 1 |
| Blade, laryngoscope, size 3 | 1 |
| Blade, laryngoscope, size 4 | 1 |
| Clamp, Magills, adult | 1 |
| Endotrachealtube, with cuff, size 7.0 | 1 |
| Endotrachealtube, with cuff, size 8.0 | 1 |
| Mandreng for ET tube | 1 |
| Syringe, 10 ml | 1 |
| Tubeholder / BENDELBÅND | 1 |
| Bandaid, textile, 2.5 cm width | 1 |
| Emergency tracheostomy set | 1 |

Contents KED vest

| Rack, back with 5 straps | 1 |
| --- | --- |
| Foam protection, green | 1 |
| Chinstraps, elastic | 2 |
| Bag, green nylon webbing | 1 |

Contents, neck brace set

| Neck brace, StifNec, adjustable (yellow/grey) | 2 |
| --- | --- |
| Neck brace, StifNec, Baby NoNeck | 1 |
| Neck brace, StifNec, Pediatric | 1 |
| Bag, blue nylon |  |

Contents reimplantation set

| Bag, plastic, 45 cm x 75 cm | 2 |
| --- | --- |
| Bag, plastic, 30 cm x 60 cm | 1 |
| Strips | 1 |
| Dry ice | 1 |
| Fysiological salt water, 1000 ml | 1 |

Contents stretch splints

| Saeger stretch rail with 2 ankle straps | 1 |
| --- | --- |
| Elastic bands, 3 sizes, orange | 3 |
| Ankle strap, black, nylon webbing | 1 |
| Foam protection, various types / materials |  |
| Orange carrying bag, nylon webbing | 1 |

Contents, vacuum splint set

| Splint, vacuum, small | 1 |
| --- | --- |
| Splint, vacuum, medium | 1 |
| Splint, vacuum, large | 1 |
| Pump, vacuum | 1 |
| Bag, nylon / nylon webbing, green / orange | 1 |

Contents, heating bag / container, IV

| Heating case 12V, with 12V cable (“Pensi” or similar) | 1 |
| --- | --- |
| Ringer acetate, IV fluid, 1000 ml | 2 |
| IV set | 3 |
| Macrordex 60 mg/ml, 500 ml infusion bag | 1 |
| Promiten 150 mg/ml, 20 ml HETTEGLASS | 1 |

Contents, ventilation bag / unit

| Oxygen bottle, 1.0 L / 2.6 L | 1 |
| --- | --- |
| Reduction valve with flowmeter | 1 |
| Oxygen mask with reservoir | 1 |
| Nasal catheter, oxygen | 1 |
| Resuscitation bag, Laerdal, adult | 1 |
| Mask size 3 | 1 |
| Mask size 4 | 1 |
| Mask size 5 | 1 |
| Airway guedel, small, size 3 | 1 |
| Airway guedel, large, size 5 | 1 |
| Oxygen mask, vaporizer, adult | 1 |
| Drugs for vaporizer | 1 |
| Ventoline, 2 mg/ml, 2.5 ml ampoule | 6 |
| Atrovent, 0.125 mg/ml, 2 ml ampoule | 3 |

Contents, anti-shock trousers

| Trousers, PASG | 1 |
| --- | --- |
| Pump, foot | 1 |
| Manometer | 1 |
| Bag / case | 1 |

Contents, drugs

The drug unit must only contain the drugs on this list. The ambulance must have a lockable cabinet / safe

| Adrenalin 1 mg/ml, 5 ml vial | 3 |
| --- | --- |
| Atropin 1 mg/ml, 1 ml vial | 3 |
| Bricanyl 0.5 mg/ml, 1 ml vial | 1 |
| Dispril 300 mg, tablet | 5 |
| Furosemid 10 mg/ml, 2 ml vial | 4 |
| Glucose 500 mg/ml, 50 ml HETTEGLASS | 1 |
| Heparin 100 IE/ml, 2 ml | 5 |
| Disaster adrenalin 0.1 mg/ml, 5 ml vial | 1 |
| Morphine 10 mg/ml, 1 ml vial | 3 |
| NaCl 9 mg/ml, 10 ml plastic vial | 5 |
| Narcanti 0.4 mg/ml, 1 ml vial | 5 |
| Nitrolingual 0.4 mg/dose, bottle | 1 |
| Paracet, suppositories, 125 mg | 5-10 (1 carton) |
| Penicillin 5 ml IE hgl, WITH DRY MATTER | 1 |
| Primperan 5 mg/ml, 2 ml vial | 3 |
| Sterile water, 100 ml vial | 1 |
| Stesolid 5 mg/ml, 2 ml vial | 2 |
| Stesolid rectiole 5 mg/ml, 2 ml set | 1 |
| Xylocard 20 mg/ml, 5 ml set | 1 |
| Syringe, 1 ml | 2 |
| Syringe, 2 ml | 2 |
| Needle, filling | 5 |
| Neddle, injection 0.8 x 50 mm, green | 5 |
| In contents, childrens sack |  |
| Ventoline, 2 mg/ml, 2.5 ml ampoule | 3 |
| Atrovent, 0.125 mg/ml, 2 ml ampoule | 3 |
| In contents ventilation bag |  |
| Ventoline, 2 mg/ml, 2.5 ml ampoule | 6 |
| Atrovent, 0.125 mg/ml, 2 ml ampoule | 3 |

Protection and rescue equipment

| Gloves (heavy-duty) | 2 |
| --- | --- |
| Seat belt cutter | 1 |
| Morgue bag | 1 |
| Rain trousers | 2 |
| Rain jacket | 2 |
| Rechargable light/beam | 1 |
| Ice spikes | 2 |
| Local maps, other necessary planning material | 1 |

Contents, burn-bandage case

| Water-jel burn-bandage, 10 x 10 cm | 2 |
| --- | --- |
| Water-jel burn-bandage, 10 x 40 cm | 2 |
| Water-jel burn-bandage, 20 x 45 cm | 2 |
| Elastic bandage, 7.5 cm | 5 |
| Compress, sterile, 10 x 10 cm | 5 |
| Compress, sterile, 10 x 20 cm | 5 |
| Compress, sterile, 20 x 30 cm | 5 |
| Netting bandage, head/leg | 4 |
| Scissors for bandage / clothes | 1 |
| Scanpore tape 2.5 cm | 1 |
| Ice bag | 2 |

Contents, other equipment

| Pressure cuff for 1000 ml infusion bag | 1 |
| --- | --- |
| Pharmacy catalogue | 1 |
| Eye rinse equipment | 1 |
| Safety belt, children | 1 |
| Drinking cup | 5 |
| Drinking water, 0.5 l bottle | 1 |

According to The European Standard EN 1789:1999 with the incorporation of amendment A1:2003 – Medical vehicles and their equipment – Road ambulance type B and The European Standard EN 1865:1999 – Specification for stretchers and other patient handling equipment used in road ambulances.

NORMECA AS

Norway June 2004.